بسم الله الرحمن الرحيم

Using of Passive Solar Systems in Buildings

MAJDI Z. MAJJAD

Engineers Association

## 1.	Introduction

In the beginning of this century man began to rely on fossil fuel for energy,  architects and builders controlled the inside environments of many buildings artificially,  there was no regard to energy efficiency, for taking advantage of nature.  Buildings were located on hills opposed to strong winds or in sweltering valleys.  Windows of any size and in any  quality were placed on any side of a building.  No longer there was a need to rely on opening windows or putting shades to cool or warm the structure.  Great glass office buildings and towers became a common sight.  There acres of windows couldn’t open to take advantage of natural air movement and temperature changes.  Buildings were erected without regard for orientation or energy efficiency.  but now, after years of unchecked use and misuse of energy the end of cheap fossil fuels can be seen. Today,  there is a need to return to the energy efficient principles used in earlier times.

We need not sacrifice quality or comfort in order to design buildings that place less demand on energy resources.  Natural systems can be used to regulate heating and cooling as effectively as artificially controlled environments.  But certain architectural design techniques must be adhered to achieve  maximum natural energy efficiency.

Solar gains through windows ,  walls , modified walls ,  sky lights,  clerestory windows,  and roof sections provide an opportunity to dramatically reduce the total heating energy requirements of a building.  When the thermal energy flow is wholly by natural means ,  such as radiation , conduction, and natural convection, and when solar energy contributes more than half of the total outside energy requirements , then the building is referred to as a passive solar heating structure.

Passive solar heating works very well.  This has been demonstrated time and again in a wide variety of buildings located in a wide variety of climates.  The occupants of these buildings testify to their comfort, to the ease of their natural operations and especially to their low fuel bills.

## 2.	Passive Solar Heating Techniques

Any solar heating system has four main functions:

a)	Collection :  The conversion of solar radiation into heat.

b)	Storage : Heat is stored for later use.

c)	Distribution :  Making the heat available where and when it is required.

d)	Control devices : guiding and controlling the above three functions.

Passive systems have been defined as systems where all four functions are carried out by spontaneous processes,  without using an external energy source for moving a heat transfer fluid.  Passive systems may use manual or motorized adjustments ,  sliding or folding covers,  adjustable shading devices, dampers....etc. However when a pump or a fan is used to circulate a heat transfer fluid in a passive system, this will be referred to as a hybrid system.

The basic approaches which can be used either alone or in combinations to form a passive system are :

·‏	Direct Gain

·‏	Thermal Mass Wall and Solar Green House

·‏	Thermal Water Roof

·‏	Thermosyphon Syste.

### 2.1.	Direct Gain

The basic of any direct gain system is a large window or a glass area facing the sun . Overhangs , eaves or some other form of horizontal shading devices may be designed to exclude the summer (high angle) sun, but allow the radiation to enter in winter when the sun’s altitude angle is low.

If internal surfaces reached by the sun are of low thermal capacity , the gain will be practically fully instantaneous, and will drop to null as soon as the solar input ceases. to even out such fluctuations, massive elements such as concrete floor or brick walls should be installed in the living space. It is preferable to have dark colored absorbent surfaces and definitely no insulating materials. A problem with large windows is the huge conduction losses. Double glazing can reduce it by almost the half. During sunshine period the gain will be far greater than the loss through the glass, but even with double glazing the window may become a net loser : this means that the annual commutative heat loss can be greater than the solar gain. The problem can be overcomed by variable window insulation.

### 2.2.	Thermal Mass Wall

The second approach is the thermal storage wall in which solar energy is stored in a wall which blocks the sun. The wall is usually painted black or a dark color to be a good absorber. When a glass is placed in front of the wall, the green house effect will occur and the stored heat by the wall increases. When some holes are opened at the bottom and the top of the wall, natural ventilation starts, then the thermal storage wall will be called Trombe wall.

A Trombe wall consists of three main parts : transparent surface ( glass), thermal storage wall (massive building component), and natural ventilation elements (holes). The transparent surface in front of the wall, which permits the passage of short wave radiation coming from the sun and prevents long wave radiation emitted by the wall to pass, creating the “green house “effect between the wall and itself. Single or double glass is used as transparent surfaces due to local climatic conditions. Thermal storage wall has the function of absorbing solar radiation , storing the solar energy and transferring it to indoor air by convection and radiation. The holes at the bottom and the top of the Trombe wall, permit the indoor air to circulate. Air at the bottom part of the room is colder than at the top. Cool air enters to the space between the glass and the Trombe wall through the bottom holes, and its temperature increases due to the natural convection and radiation from the surface of the Trombe wall. Increasing temperature decreases the density of the air so it rises and enters to the rooms through the top holes. This  natural circulation continues in this direction when solar radiation exists, causing the indoor air temperature to increase. This condition is called natural convection.

At night when solar radiation is weak, the direction of flow is opposite. so it creates cooling effect. Movable night insulation is used to prevent this effect. Movable night insulation also decreases the heat losses by convection and radiation. The using of Trombe wall for heating (in winter) and cooling (in summer) can be seen below:

### 2.3.	Solar Greenhouse

This solar heating  technique is a development of  the Trombe wall, but the space between the glass and the wall has been widened to form a greenhouse  The thermal movements are similar, as are the controls. The greenhouse provides not only a means of heating but also a usable living space and the opportunity to grow food and flowers ( as seen in the figure).

### 2.4.	Thermal Water Wall

In some installations water filled tanks is used instead of the mass wall. Steve Baer has simplified the system with his drum wall system, by using ordinary 200 liters drums filled with water. He introduced some refinements which are insulated fold down external shutters to reduce the heat loss. in the lowered position their reflective lining enhance the solar collection ( as seen in the figure). In another building the drums are includes in a box and the heat emission takes place by a controllable natural convection.

### 2.5	Thermosiphon System (The Convective Loop)

The best known example of this is the domestic water heater. The tank should be located higher than the top the top of the collector. The water heated in the collector will rise, flow into the upper part of the tank, and cooler water from the bottom of the tank will be drawn into the bottom of the collector. This is the simplest, best proven and widely used water heater system.

Thermosiphon space heating systems can use either water or air as heat transfer fluid. The only different is in scale. In domestic hot water system 2 to 5 collector and 0.15 to 0.3   tank sizes are used. For space heating of an average house 50  tank size is not uncommon. Thermosiphon systems with such sizes are in practice feasible only on a favorable site, on an equatorially oriented hillside.

To have a full thermosiphon operation both from collector to storage and from storage to rooms, the storage should be located above the collector, and the rooms above the storage. The most successful example of thermosiphon system is the Davis house. There are two distinct flow loops collector-to-storage and storage-to-house (as seen in the figure below).

## 3.	Calculations of SHF

There are several methods for determining the solar heating fraction (SHF) and auxiliary energy needs of buildings. Here the Solar Load Ratio method was chosen in order to calculate the SHF and auxiliary energy. The Solar Load Ratio method was first  developed at Los Alamos laboratories by J.D. Balcomb et.al. at 1978. The SLR method is chosen in this study because it is easy to apply and at the same time it gives a good results. A simple method that gives answers easily and quickly will receive much wider use and thus have a much greater impact on design than a complex method that  may lead precise answers but will rarely be used.

### 3.1.	The Solar Load Ratio Method

The SLR method provides an empirical means of estimating the monthly auxiliary energy requirements based on the Monthly Solar Load Ratio (SLR). The SLR is a dimensionless correlation parameter defined as follows:

The numerator is equal to the product of the total solar collection wall area times the monthly solar energy transmitted through one square foot of south glazing times the wall absorptance. The denominator is equal to the building loss coefficient (including the steady state condition through the south solar collection wall) times the monthly degree days.

The  SLR  can be expressed as follows:

The SLR is given by the ratio of two different terms, the Solar Capability Index, which depends only on the weather for the locality and a Modified Load Collector Ratio ( MLCR) which depends only on the building construction.

Two computer programs using FORTRAN language depending on the SLR method was established .

The first computer program aims to determine and calculate the monthly degree- days, the Monthly Thermal Loud (MTL), the monthly SLR,  the monthly SHF , and the monthly and annual auxiliary energy.

The second  computer program aims to find a relation between the collector area and the annual SHF.

The main input meteorological data are ambient temperature and solar radiation. Monthly degree-days based on 16 degrees centigrade are calculated from the daily ambient temperature.

### 3.2.	The Results

The figures below show the monthly auxiliary energy requirements for various types of walls. the figures show the effect of using night insulation with the different types of walls.

It is seen that in the cold regions water wall and Trombe wall have the same effect on the energy of buildings (water wall saves 30%, and Trombe wall saves 31%). The addition of night insulation make the situation better, the savings become 46% for waterwall and 45% for Trombe wall.

In the moderate region application of water wall is better than that of Trombe wall , the water wall saves about 71% of the energy requirements while Trombe wall saves 65%. Addition of night insulation rises savings up to 85% for water wall and 81% for Trombe wall.

### 3.3.	Empirical Formulas For Calculating of the SHF

The figures below show the using of different collector walls in the two climatic regions. It is noticed that for all of the wall types the relation between the Collector Wall and the SHF has the same tendency. First the relation between them is linear until a specific point and then becomes a curve, except for a Trombe wall without night insulation, the relation between the collector area and the SHF is a curve from the beginning.

By using the least square method an empirical formulas were found to calculate the SHF for various kinds of collector walls.

The empirical formulas depend on the collector area , the Building Skin Conductance- Area Product (UA) in watt per degrees centigrade, and the Solar Capability Index which is the ratio of the annual Solar Radiation on a horizontal surface

The Effect of Night Insulation with Water Wall on the Relation between Collector Area and SHF in a Cold Region.

The Effect of Night Insulation with Trombe Wall on the Relation between Collector Area and SHF in a Cold Region.

The Effect of Night Insulation with Water Wall on the Relation between Collector Area and SHF in a Moderate Region.

The Effect of Night Insulation with Trombe Wall on the Relation between Collector Area and SHF in a Moderate Region.

#### REFERENCES

1.	J.D.Balcomb and R.D.McFarland, “A simple empirical method for estimating the performance of a passive solar heated buildings of the thermal storage wall type”, proceedings of the 2nd National Passive Solar Conference, Philadelphia, 1978.

2.	M.Z.Majjad,  “Application of Solar Load Ratio Method for Turkey”, an unpublished master thesis, Fac. of Arch. , Middle East Technical Univ.,Ankara, 1990.

3. B. Anderson, “ Solar Energy Fundementals in Building Design",Harrisville, Total Environmental Action, 1975.

4. ASHRAE, Handbook of Fundamentals", USA, 1981.

5. E. Mazria, " The Passive Solar Energy Book" , Emmans, Rodale Press, 1979.

6. S.V. Szokolay, " World Solar Architecture", The Architectural Press, London, 1980.